MODULAR SEWER PUMPING INSTALLATIONS PROFOS-PRO FOR WASTEWATER AND DRAINAGE WATER

Components – a draw tank and a fitting inspection chamber

- A draw tank and a fitting inspection chamber - Raw material used for the production: primary source certified by independent institution

- Production technology: injection moulding method

- Pipe material: polypropylene PP (polypropylene)

- Nominal diameter DN: DN630, DN800 and DN1000

- Product description: the product is constructed of separate injection mould components with external ribbed surface, connected by welding or by means of elastomer sealing.

- Nominal hardness (ring hardness) >/=SN2 according to EN13598-2:2009

- Water-tightness of connections: submission of 0.5 bar water pressure test report and 0.3 bar vacuum test report

- Guaranteed water tightness of the inspection chamber and the connections with sewer system: yes

- Depth of laying: up to 6m

- Possibility for laying in up to 2m high underground water above the bottom of inspection chamber: yes

- Type of connection to the sewer system: by socket and sealing ring

- Solutions to prevent “floating”, deflection and cracking in high underground water or other adverse conditions: yes

- Operating software complying with the product-related standards and the laying method, for static calculations of laid sewer inspection chamber: yes

- Submission of test reports in accordance with BDS EN13598-2:2009: yes

- Legible and durable marking of the components in accordance with BDS EN13598-2:2009: yes

- Standard: BDS EN13598-2:2009 for laying manholes and inspection chambers at a depth up to 6m in areas of heavy traffic and high underground water

- Production: in accordance with ISO 9001

- System: a complete pre-mounted system – an automatic coupling system – an automatic coupling and pump installation guides.

- Automation of the pumping unit control equipped with an alarm system.

- Fitting inspection chamber – furnished with valves, shutoff valves, and a pipe distribution system ready to be connected to the draw tank and the propeller after the pumping installation.

Standards

EN 476:2011 General requirements for components used in drains and sewers.

EN 13598-2:2009 Plastics piping systems for non-pressure underground drainage and sewerage - Unplasticized poly(vinyl chloride) (PVC-U), polypropylene (PP) and polyethylene (PE) - Part 2: Specifications for manholes and inspection chambers in traffic areas and deep underground installations.

EN 13476-3+A1:2009 Plastics piping systems for non-pressure underground drainage and sewerage - Structured-wall piping systems of unplasticized poly(vinyl chloride) (PVC-U), polypropylene (PP) and polyethylene (PE) - Part 3: Specifications for pipes and fittings with smooth internal and profiled external surface and system, type B.

DVS 2207-4 Welding thermoplastic parts – Extrusion welding of pipes, pipe components and panels – Processes and requirements.

EN 14396:2004 Fixed ladders for manholes.

EN 12201-2:2011+A1:2013 Plastics piping systems for water supply, and for drainage and sewerage under pressure - Polyethylene (PE) - Part 2: Pipes

EN 12201-3:2011+A1:2013 Plastics piping systems for water supply, and for drainage and sewerage under pressure - Polyethylene (PE) - Part 3: Fittings

EN 12056-4:2004  Gravity drainage systems inside buildings - Part 4: Wastewater lifting plants - Layout and calculation.

The modular sewer pumping installations PROFOS are intended for transfer of wastewater and drainage water, for draining houses, buildings, developments, small industrial enterprises that are positioned lower than the street sewer system, shortening the depth of sewer system laying, pumping wastewater and drainage water from low areas, overcoming elevations, water courses, roads, railroads, etc., pumping water from rainwater retention reservoirs, pumping and leading wastewater to treatment plants and water collectors.